Reinfusion Checklist

Introduction

This checklist has been developed to aid the safe and appropriate reinfusion of autologous blood from Intraoperative Cell Salvage (ICS). It has been designed with the intention that it can be use in the format in which it is presented, or that additions can be made to meet local needs.

Using the checklist

The checklist should be used prior to commencing the reinfusion of the ICS blood to ensure that the recognised safety steps have been completed.

If reinfusion of the ICS blood is to begin outside of the operating theatre, special requirements/concerns for its reinfusion may have been identified during the WHO Surgical Safety Checklist “Sign Out”, as such this checklist reminds staff to check these requirements/concerns.

Hospitals may elect to:

- Complete a paper copy of the checklist for all patients receiving an ICS blood reinfusion

- Attach a copy of the checklist the ICS device for staff to visually check prior to the reinfusion of blood for each patient